basic SEM and electron probe formation     			483/583 quiz 1 2009

true/false: (If you think neither true nor false is correct, explain why in a sentence)

- Scanning Electron Microscopy (SEM) is better than standard light microscopy.     true/false:   explain

- Contrast in SEM is a result of sample in-homogeneity.        true/false:    explain

- One advantage of a tungsten (W) filament type electron gun is that it requires no electrical fields in order to form an e- beam.      true/false:    explain

- The e- in the SEM beam are of such short  λ  (wavelength) that they do not interact with small gas molecules such as O2 and N2.      true/false:    explain

- Rank the following parts of the SEM electron beam as follows;

1- highest  current					          beam entering anode plate
2- med. current			  			          beam as it strikes the sample
3- lowest  current				                        beam just leaving gun cap

- Which of the following sample characteristics can provide contrast in SEM.
a. topography
b. elemental composition
c. magnetic properties
d. a&b
e. all

- In SEM, what are the units of working distance?  ___ ___

- What 2 important things are brought together in the area/volume defined by the working distance? __________________________________________________________________________

- Which SEM control directly affects the scan coils?  contrast/ magnification/spot size/ACCV (acceleration Voltage)?   explain

- In this diagram of a tungsten filament, what is happening here within in the dashed circle?

EXTRA CREDIT 

In SEM, if the BSE coefficient η and the SE coefficient δ both equal 0.5, there should be no charging of the sample.     true/false:      explain